## Slide 1
Evaluation of HCC Response to Systemic Therapy with Quantitative MRI (1 U01 CA172320-01)
Guido Jajmovich, Octavia Bane, Hadrien Dyvorne, Bachir Taouli; Icahn School of Medicine at Mount Sinai
Objectives
Year 1
Develop a framework for quality control (QC) in functional MRI of the liver in patients with HCC
Determine reproducibility of diffusion, DCE-MRI and R2* metrics in HCC and liver parenchyma
Year 2
Develop a quantitative multiparametric scoring system combining measurements of MR diffusion, perfusion and hypoxia against histopathologic measures of tumor grade, cellularity, aggressiveness, angiogenesis and hypoxia in HCC.
Develop an advanced pathologic evaluation platform evaluating HCC tumor biology
Gain insight into intratumoral heterogeneity in MR metrics and pathology, and differentiate biological heterogeneity from image noise
Overall objective: Develop a quantitative multiparametric protocol combining measurements of MR diffusion, perfusion and hypoxia in hepatocellular carcinoma (HCC)
Multiparametric approach in HCC
Reference T2 HASTE, Time to Peak (TTP), slope, AUC60, D and ADC maps in a patient with a 14 cm HCC.
Year 1 Summary Results
QC parameters being assessed: image quality, metrics variability, goodness of fit, quality of DCE-MRI curves, intra-patient test-retest, inter- and intra-observer variability, differences between 1.5T and 3T, assessment of pathologic variability.
Test-retest reproducibility in HCC
  IVIM DWI: Mean CV (n=5) D (true diffusion coefficient) 19.8%, PF (perfusion fraction) 21.7%, D* (pseudodiffusion coefficient) 65.2%, and ADC 17.4%.
  DCE-MRI: mean CV (n=12) Ktrans 38.2%, Ve 37.7%, Kep 52.7%
  R2*: mean CV of R2* value with room air (n=8) 14.8%, under O2 (12.2%), carbogen (11.8%).
VIBE post-contrast R2* room air (sec-1) R2* O2 R2* CO2
HCC identified on post-contrast imaging (arrows) shows minimal response to O2 (R2* air 23.81 s-1, R2* O2 23.65 s-1) and a minimal increase in R2* with carbogen (R2* CO2 25.22 s-1).